Table of Contents

# Cisco Secure Workload — NIST SP 800-82 Rev. 3

## Reference Design | IT-Side Boundary to OT / ICS Environments

Version: 1.0
Framework: NIST Special Publication 800-82 Revision 3 — Guide to Operational Technology (OT) Security (NIST, September 2023)
Use Case: IT-side segmentation of OT zones, IT/OT DMZ workload control, OT-adjacent monitoring service segmentation, IT/OT communication path evidence

Framework version note. NIST SP 800-82 Rev. 3 is guidance, not a separate control catalogue. It uses NIST SP 800-53 Rev. 5 as its underlying control framework and provides an OT-tailored overlay and OT-specific guidance. This reference design references 800-82 topic areas (e.g. cybersecurity programme, network architecture, segmentation, incident response) and the 800-53 control families the overlay aligns to. Specific control selection and tailoring must be done against the customer's OT cybersecurity programme and the 800-53 baseline they apply.

Scope boundary. CSW is a workload-segmentation product. The deep OT device layer (PLCs, RTUs, HMIs, controllers, OT protocols like Modbus, DNP3, S7, OPC UA) is not within CSW's direct enforcement scope and is better addressed by an OT-native product (e.g. Cisco Cyber Vision, Claroty xDome, Nozomi). CSW's role is to harden the IT-side workloads adjacent to OT — historians, engineering workstations, jump hosts, IT/OT DMZ workloads, asset / vulnerability servers, and monitoring servers — and to evidence the IT-side of the IT/OT communication boundary.

CSW UI navigation note. Cisco does not yet publish 800-82-specific CSW UI navigation; framework-specific paths are on the product roadmap. This reference design describes CSW capabilities and the evidence artifacts they produce.

## Reader's Guide

Who this is for. Industrial / critical infrastructure operators (manufacturing, energy, water, transportation, pharma, food production) and any organisation with an OT estate whose IT-side boundary must demonstrate segmentation hygiene; CISO / OT security lead, IT and OT engineering, internal audit, and consultants preparing a 800-82-aligned assessment.

Questions this reference design helps you answer:

- Can I demonstrate that IT workloads with reach into the IT/OT DMZ or into OT zones are inventoried, classified, and segmented? (800-82 network architecture topic; 800-53 AC, SC, CM families)

- Can I evidence that the IT/OT communication boundary is constrained to approved flows only? (800-82 segmentation; 800-53 SC-7 / AC-4)

- Can I produce monitoring evidence on the IT side of the IT/OT boundary? (800-82 monitoring topic; 800-53 SI-4 / AU family)

- Can I prioritise patching of IT-side workloads whose reachability is into OT zones? (800-82 vulnerability management; 800-53 RA / SI-2)

- In the event of an incident, can I reconstruct IT-side workload flow to/from OT zones? (800-82 incident response; 800-53 IR family)

What you'll need. IT asset inventory, OT asset inventory (from your OT-native product), an architecture diagram showing IT zones, IT/OT DMZ, and OT zones (e.g. ISA-95 levels 3.5–4), the OT cybersecurity programme document, and a list of historians / engineering workstations / IT/OT DMZ workloads in scope.

Where to start. Sections 1–4 if you are scoping; 5–7 if you are designing and simulating policy; 9–10 if you are preparing an assessment / audit pack within the next quarter.

## CSW primer — if you are new to Cisco Secure Workload

Cisco Secure Workload (CSW) is a workload protection platform. A lightweight agent on each server/VM/container observes processes and network flows; cloud connectors add AWS/Azure/GCP inventory where agents are not deployed.

| CSW term | Meaning | Why compliance teams care |
| --- | --- | --- |
| Scope | Logical boundary (CDE, PHI zone, CUI enclave) | Defines the systems you must prove are isolated |
| Label / filter | Tag or query assigning workloads to scopes | Automates scope membership — reduces drift |
| ADM | Application Dependency Mapping from observed traffic | Live network/data-flow diagram for assessors |
| Workspace | Policy container for one scope or application | Where allow/deny rules are authored |
| Monitor → Simulation → Enforce | Safe rollout sequence | Simulation = change-board evidence before blocking traffic |
| Denied Connections | Log of flows blocked by policy | Primary proof that enforcement operates |

Console areas: Investigate (inventory, flows, vulns) · Defend/Segmentation (policy) · Manage (agents) · Platform (connectors) · Administration (audit log)

Read next: Compliance evidence playbook (full step-by-step) · About CSW (platform intro)

## Universal evidence workflow

Execute these phases for this framework's compliance boundary. Map exports to control IDs in the Reporting & Evidence section below.

| Phase | Goal | Key CSW actions | Typical duration |
| --- | --- | --- | --- |
| 1 — Coverage | Every in-scope workload in CSW | Install agents/connectors; apply compliance labels; create scope | Days 1–10 |
| 2 — Baseline | Machine-generated flow map | Run ADM ≥2 weeks; export clusters; app-owner signoff | Days 11–28 |
| 3 — Policy | Designed isolation before enforce | Build workspace; Simulation mode; fix false positives | Days 29–45 |
| 4 — Operate | Continuous proof between audits | Enforce; quarterly export pack; ADM refresh every 90 days | Ongoing |

### Phase 1 checklist (coverage)

- In-scope host list reconciled to CSW Inventory (100% or documented exceptions)

- Labels applied: compliance:<framework>, data:<classification>, env:<tier>

- CSW scope created matching compliance boundary

- Export: inventory CSV + agent status screenshot

### Phase 2 checklist (baseline)

- ADM running on compliance scope for full business cycle (≥2 weeks)

- Unexpected flows documented (shadow IT, vendor egress, scope creep)

- App owners signed cluster-to-application mapping

- Export: ADM diagram + flow samples with process context

### Phase 3 checklist (policy)

- Default-deny posture defined for sensitive scope

- ADM-imported rules refined; Simulation run ≥1 week

- Change tickets for false-positive fixes; exception register updated

- Export: policy export + simulation report

### Phase 4 checklist (operate)

- Enforcement enabled on pilot scope; negative test recorded in Denied Connections

- Quarterly pack: inventory, policy, denies, vulns, audit log (see playbook)

- SIEM integration verified (sample events)

- Export: enforcement screenshot + quarterly binder

### What CSW evidence does not replace

Physical access, HR/training records, encryption key management, signed BAAs/vendor contracts, formal pen tests, and assessor attestation still require separate programmes. CSW addresses the workload-resident slice: segmentation, flows, process context, vuln reachability, and change drift.

## CSW effectiveness for this framework

- OT-adjacent IT segmentation (jump hosts, historians, patch repos)

- Pair with OT visibility for end-to-end zones

- Vendor access path documentation

Compared to manual programmes: static diagrams and annual firewall samples age immediately; CSW ties evidence to live workload behaviour and produces queryable exports on demand — supporting "operating effectively" language in PCI v4.0, SOC 2 CC7, and HIPAA risk analysis.

## 1. Overview

NIST SP 800-82 Rev. 3 is OT-tailored guidance over NIST SP 800-53 Rev. 5. Its key technical themes for the IT-side workload layer are:

- A cybersecurity programme that integrates OT considerations

- A network architecture that segregates IT from OT (commonly described as ISA-95 levels with a DMZ at level 3.5 between the manufacturing zone (3) and the enterprise zone (4–5))

- Continuous monitoring with OT-tailored considerations (e.g. minimising disruption)

- Access control at zone boundaries

- Vulnerability management with OT-specific change-management constraints

- Incident response with OT-specific operational concerns

CSW supports the IT-side of these themes by:

- Inventorying IT-side workloads adjacent to the OT estate

- Producing reachability evidence into the IT/OT DMZ and across the boundary

- Enforcing workload-level allowlist policy at the IT/OT boundary on the IT side

- Producing monitoring telemetry and policy-violation alerts

- Producing reachability-weighted vulnerability evidence so patch prioritisation reflects OT-adjacency

- Producing forensic flow + process timelines on the IT side for incident response

What CSW does not do for 800-82: enforce policy on OT devices, parse OT protocols, manage OT change windows, replace the OT-native product, or replace the OT cybersecurity programme.

### 800-82 Topic Areas and CSW Relevance

| 800-82 topic area | CSW relevance (IT side) | Underlying 800-53 control family (representative) |
| --- | --- | --- |
| OT cybersecurity programme | Evidence inputs (inventory, telemetry) | PM family |
| Network architecture and segmentation | Workload-level segmentation on IT-side; ADM-derived allowlist; policy workspace | SC-7, AC-4 |
| Monitoring | Continuous flow / process telemetry; anomaly alerts | SI-4, AU family |
| Access control | Workload-to-workload allowlist on IT side | AC-3, AC-4, AC-6 |
| Vulnerability management | Reachability-weighted CVE evidence | RA-5, SI-2 |
| Incident response | Forensic flow / process telemetry | IR family |
| Configuration / change management | Baseline policy workspace + change log | CM family |

## 2. Pre-Deployment Checklist

- CSW cluster provisioned

- Sensor compatibility verified on IT-side workloads only (historians, engineering workstations, IT/OT DMZ workloads, jump hosts, asset / vulnerability servers, monitoring servers). Do not install CSW sensors on OT devices.

- OT-native product (Cyber Vision / Claroty / Nozomi) confirmed for OT zones

- IT/OT architecture diagram reviewed; the IT/OT DMZ boundary defined unambiguously

- Stakeholders: CISO, OT security lead, OT operations lead, internal audit

- Change windows agreed with OT operations (sensor install on engineering workstations is operationally sensitive)

- Evidence retention agreed with internal audit and OT engineering

## 3. Phase 1 — IT-Side Sensor & Connector Deployment (Days 1–5)

- Install software sensors only on IT-side workloads in monitoring mode

- Connect cloud accounts for cloud-hosted IT workloads in scope (e.g. cloud historian, cloud SCADA front-end)

- Day-1 labels: application, env, isa_level, it_or_ot, criticality, owner, compliance=nist-800-82

- Maintain a cannot-instrument register for OT devices and any appliances; this register is itself evidence (it documents the boundary of CSW's coverage)

- Retain Phase-1 sensor inventory baseline

## 4. Phase 2 — IT/OT Scope Architecture (Days 6–10)

### 4.1 Suggested Scope Architecture

Root Scope
└── NIST-800-82
    ├── OT-Adjacent-IT                       (Level 3.5 IT/OT DMZ — IT-side workloads)
    │   ├── Historians
    │   ├── Patch-Servers-OT-Direction
    │   ├── Engineering-Workstations
    │   └── Jump-Hosts-to-OT
    ├── OT-Monitoring-IT-Side                (CSW-instrumented IT-side monitoring servers)
    ├── Enterprise-IT                        (Level 4–5 enterprise systems)
    └── OT-Zones                             (Level 0–3 — NOT instrumented by CSW; referenced via flow visibility only)

CSW will not have sensors inside OT-Zones; it observes the IT-side endpoint of every IT↔OT flow.

### 4.2 Inventory Filters

Filter: OT-Adjacent-IT-Candidates
  - Tag: it_or_ot = it-side
  - Tag: isa_level = 3.5
  - Hostname / app pattern matches: historian, engineering, ot-jump

Filter: Jump-Hosts-to-OT
  - Listening port: 22, 3389
  - Tag: purpose = ot-admin

### 4.3 Labeling Strategy

| Label key | Example values | Why it matters for 800-82 |
| --- | --- | --- |
| isa_level | 4, 3.5, 3, 2, 1 | Reflects ISA-95 architectural level commonly used in 800-82 references |
| it_or_ot | it-side, ot-side | Anchors the boundary CSW evidences |
| application | historian, mes, engineering-workstation | Maps workloads to OT-adjacent systems |
| env | production, dev, lab | Production OT-adjacent workloads need stricter controls |
| criticality | critical, important, standard | Risk tiering |
| owner |  | Accountability |
| compliance | nist-800-82 | Filters CSW evidence to 800-82 scope |

## 5. Phase 3 — Application Dependency Mapping (Days 11–21)

Run ADM on the IT-side scopes. For 800-82, the most important questions are about boundary flows:

| Question | 800-82 / 800-53 reference |
| --- | --- |
| Which IT workloads communicate with OT-Zones, and on what ports / protocols? | SC-7, AC-4 |
| Which IT workloads in OT-Adjacent-IT communicate with Enterprise-IT? | SC-7, AC-4 |
| Are flows into OT-Zones constrained to approved historians, engineering workstations, or jump hosts? | AC-3, AC-4, AC-6 |
| Are jump-host flows to OT-Zones audited? | AC-6, AU family |
| Which IT-side OT-adjacent workloads have direct or transitive reach to the internet? | SC-7 |

Use ADM to confirm or correct isa_level, it_or_ot, and application labels.

## 6. Phase 4 — Policy Development (Days 22–35)

### 6.1 800-82-Aligned Policy Framework (IT side)

Absolute policies:

DENY  Enterprise-IT             → OT-Zones                    (no direct enterprise → OT)
DENY  OT-Adjacent-IT            → Internet                    (no direct internet egress from OT-adjacent IT)
DENY  Any                       → OT-Zones                    (default deny inbound from the IT side)

Allowlist policies (examples to adapt per environment):

ALLOW Historians                → OT-Zones                    tcp/<approved-ot-protocol-via-DMZ>
ALLOW Engineering-Workstations  → OT-Zones                    tcp/<approved-engineering-protocol>
ALLOW Jump-Hosts-to-OT          → OT-Zones                    tcp/22, tcp/3389
ALLOW OT-Adjacent-IT            → OT-Monitoring-IT-Side       tcp/443
ALLOW Patch-Servers             → OT-Adjacent-IT              tcp/<approved-update-port>

Catch-all (audit everything else):

LOG   Any                       → OT-Adjacent-IT              (unmatched inbound)
LOG   OT-Adjacent-IT            → Any                         (unmatched outbound)

### 6.2 Policy Workspace Lifecycle

Even more conservative than IT-only frameworks; OT operations cannot tolerate accidental denial:

| Phase | Mode | Duration | Purpose |
| --- | --- | --- | --- |
| 1 | Simulation | 4 weeks | Validate against live traffic; long observation window for OT cycles |
| 2 | Enforcement of high-confidence rules only | 2 weeks | Enterprise→OT deny, internet egress deny |
| 3 | Full Enforcement on IT side | Ongoing | OT-side enforcement remains with the OT-native product |

Snapshot the workspace at every phase transition; this is evidence for SC-7 / AC-4 / CM family.

## 7. Phase 5 — 800-82 Topic Mapping with CSW Evidence

| 800-82 topic | What CSW produces | How to use it (800-53 family) |
| --- | --- | --- |
| Network architecture and segmentation | Policy workspace; observed IT↔OT flows; ADM-derived allowlist | SC-7, AC-4 evidence on the IT side of the boundary |
| Monitoring | Continuous flow / process telemetry; alerts on unauthorised IT↔OT flow | SI-4, AU family |
| Access control | Workload-to-workload allowlist + enforcement log | AC-3, AC-4, AC-6 |
| Vulnerability management | Reachability-weighted CVE on OT-adjacent IT workloads | RA-5, SI-2 |
| Incident response | Forensic flow / process search across the incident window | IR family |
| Configuration management | Workspace snapshot before/after each change | CM family |

## 8. Phase 6 — Vulnerability Management (IT-side, OT-aware)

OT environments often have constrained patch windows. CSW's role on the IT side:

Priority 1: Critical CVE on OT-Adjacent-IT with inbound reachability
Priority 2: Critical CVE on Jump-Hosts-to-OT
Priority 3: Critical CVE on Patch-Servers / OT-Monitoring-IT-Side

If a patch must be delayed (common in OT-adjacent environments), use CSW to:

- Restrict the vulnerable port to an explicit approved source list

- Add an anomaly alert on the affected process

- Log all connections to the affected workload

- Document the exception in the policy workspace exception register

The exception register itself is evidence for RA / SI-2 risk acceptance and CM change control.

## 9. Phase 7 — Monitoring & Alerting

| Alert | Trigger | 800-82 topic |
| --- | --- | --- |
| Unapproved IT→OT flow | New flow from any IT workload → OT-Zones outside approved baseline | Segmentation |
| Enterprise→OT attempt | Enterprise-IT → OT-Zones (any) | Segmentation |
| Jump-host activity outside change window | Jump-Hosts-to-OT → OT-Zones outside an authorised change window | Access control |
| Plaintext on regulated paths | HTTP / unencrypted protocol from OT-Adjacent-IT | Communications (detection) |
| Policy violation | Enforced policy block triggered | Segmentation / Access control |
| Sensor offline | Agent stops reporting on an OT-Adjacent-IT workload | Monitoring evidence integrity |

### 9.2 Forensic Telemetry

Per incident, retain on the IT side:

- Flow log scoped to affected IT workload(s) and time window (with process context)

- Process search output

- Policy workspace state at the time of the incident

- Vulnerability snapshot for the affected workload(s)

- Pair with the OT-native product's view of the OT side to produce a complete picture

## 10. Reporting & Evidence Collection

### 10.1 Evidence per Audit Cycle (quarterly recommended)

| Evidence item | CSW source area | 800-82 topic |
| --- | --- | --- |
| IT-side workload inventory adjacent to OT | Inventory export | Programme / asset evidence |
| Scope + label membership (isa_level, it_or_ot) | Scope membership export | Segmentation |
| Approved vs. observed IT↔OT flows | ADM workspace export | Segmentation |
| Policy workspace snapshot | Policy workspace export | Segmentation / change control |
| Policy enforcement / violations | Policy analysis output | Access control / monitoring |
| Vulnerability + reachability (OT-adjacent IT) | Vulnerability report scoped to NIST-800-82 | Vulnerability management |
| Jump-host activity report | Flow search on Jump-Hosts-to-OT | Access control / monitoring |
| Incident timeline (IT-side) | Flow + process search | Incident response |
| Exception register | Policy workspace exceptions list | Configuration / risk acceptance |

### 10.2 Ongoing Compliance Posture

- Monthly: scope / inventory hygiene; jump-host activity review

- Quarterly: policy workspace review; refresh evidence pack 10.1

- Annually: independent walk-through with OT engineering and internal audit

- Continuously: policy drift detection; ADM re-run every 90 days

## 11. Common Pitfalls

| Pitfall | Mitigation |
| --- | --- |
| Trying to instrument OT devices with CSW | Use an OT-native product for OT devices; CSW is for IT-side workloads |
| Treating 800-82 as a standalone control catalogue | 800-82 is OT-tailored guidance over 800-53; cite 800-53 controls for the actual control language |
| Skipping the simulation window for OT-adjacent workloads | Use a 4-week simulation; OT cycles are long |
| Enforcing IT-side rules without coordinating with OT operations | All policy enforcement on OT-adjacent IT requires OT engineering sign-off |
| Assuming network protocol by port (e.g. Modbus on TCP/502) | Confirm by process + observed handshake where possible; OT protocols vary |
| Treating CSW jump-host visibility as session monitoring | CSW shows the flow; session-level command recording is a PAM responsibility |

## Related Frameworks in This Repository

- NIST SP 800-53 Rev 5 — the control catalogue underlying 800-82

- NERC CIP — for North American Bulk Electric System operators

- TSA Pipeline — for US pipeline operators

- IEC 62443 — adjacent OT cybersecurity standard

- UK NCSC CAF v3.2 — OT-adjacent IT segmentation is the reuse path for CAF B5.

Document prepared for Cisco industrial / critical-infrastructure engagements. Replace [Customer Name] and any bracketed fields before customer delivery. CSW addresses the IT-side workload boundary only; pair with an OT-native product for OT device coverage.